## Types of Analyses (hidden)
--Select-- | Forecasting | Market Analysis | Power System Analysis
--Select-- | --Select-- | --Select-- | --Select--
Artificial Neural Network (ANN) | Artificial Neural Network (ANN) | EPECS Simulator (Dartmouth) | Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.)
Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.) | MetrixND | Forward Capacity Auction Market Clearing Engine (FCA MCE) | Electromagnetic Transients (PSCAD, etc.)
Electromagnetic Transients (PSCAD, etc.) | SimDay | GAMS-Based Market Simulator | Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
EPECS Simulator (Dartmouth) | Statistical Analysis Tools | GridView | Resource Adequacy (GE MARS, etc.)
Forward Capacity Auction Market Clearing Engine (FCA MCE) | Other | Other | Other
GAMS-Based Market Simulator | No Preference | No Preference | No Preference
GridView
MetrixND
Resource Adequacy (GE MARS, etc.)
SimDay
Statistical Analysis Tools
Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
Other
No Preference

## Introduction
Transition to the Future Grid - Analysis Proposal Form
Instructions | The Analysis Proposal Form provides a consistent format for stakeholders to prepare their analysis requests. This will allow for quicker processing and comparison of proposals to take place.
Requestor Details | Requestor(s) | List the company or organization name(s) associated with the proposal.
Request Details | Objective | Clearly articulate what the requestor(s) are specifically seeking to learn from the request.
| Base Case Description | Describe the base case which will be the starting point for additional scenarios to be run from. If the base case will be based on a prior analysis, please note this and clarify what updates are being proposed to the assumptions.
| Additional Scenarios | Describe any scenarios which would be performed from the base case. These scenarios should specify which variables will be changed in a given scenario and by how much. If the scenarios will be based on a prior analysis, please note this and clarify what updates are being proposed to the scenarios.
| Associated Prior/Ongoing Study | If applicable, list associated prior or ongoing study which may be the basis for the proposal or where assumptions are derived from.
Outputs and Deliverables | Metrics to Develop and Examine | Describe the metrics which would be utilized and the types of data the requestor(s) are seeking to examine (loads, prices, etc.)
| Deliverable(s) | Describe the deliverables of the proposed analysis. Note the type of information, analyses, and/or observation areas which the requestor(s) are seeking further information on with the request. Please note whether the deliverable is to be utilized as an assumption in another proposal.
Proposal Technical Summary | Analysis Types | Select the type of analysis associated with the proposal from the drop down list (Forecasting, Market Analysis, and Power System Analysis). This selection will filter the "Proposed Modeling Tool(s)" drop down list options to those applicable with the given analysis type selection.
| Proposed Modeling Tool(s) | Based on the "Analysis Types" selection, the associated modeling tools will be displayed in a drop down list. Select the proposed modeling tool. If modeling tool selection is "Other", please describe in further detail the tool in the "Proposed Modeling Approach". If there is no preference on the type of modeling tool, please select "No Preference". Forecasting: Artificial Neural Network (ANN), MetrixND, SimDay, Statistical Analysis Tools, Other, and No Preference Market Analysis: EPECS Simulator (Dartmouth), Forward Capacity Auction Market Clearing Engine (FCA MCE), GAMS-Based Market Simulator, GridView, Other, and No Preference Power System Analysis: Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.), Electromagnetic Transients (PSCAD, etc.), Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.), Resource Adequacy (GE MARS, etc.), Other, and No Preference
| Proposed Modeling Approach | Describe how the modeling tool(s) will be used to provide useful information and how the model inputs and outputs may be used in other models and/or how post-processing analyses should be conducted to achieve useful information.
Base Case Input Assumptions | Transmission Network | Specify the transmission topology to be used for the analysis including the information source(s) to be used for future transmission topology (i.e. an RSP Project Listing).
| Study Year(s) / Timeframes | Specify the study year(s) and timeframes for the analysis.
| Supply Resource Mix (New and Retired) | Provide details on the supply resource mix by resource type including relevant retirements. Include details on relevant information sources (i.e. I.3.9 approvals, CELT Report, etc.)
| Wholesale Net Load (Gross, EE, BTM PV, Utility PV) | Provide details on the gross load, EE forecast, BTM PV forecast, and utility PV assumptions for the analysis. Include details on relevant information sources (i.e. CELT Report, etc.)
| Electrification Forecasts (Heating and Transportation) | Provide details on the electrification forecast (heating and transportation) assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Battery and Other Storage Additions | Provide details on battery and other storage assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Other | As needed, provide details on other relevant base case input assumptions noting relevant information sources for where to obtain data.

## Analysis Proposal Form
Requestor Details | Request Details |  |  |  | Outputs and Deliverables |  | Proposal Technical Summary |  |  | Base Case Input Assumptions
Requestor | Objective | Base Case Description | Additional Scenarios | Associated Prior/Ongoing Study | Metrics to Develop and Examine | Deliverable(s) | Analysis Type | Proposed Modeling Tool(s) | Proposed Modeling Approach | Transmission Network | Study Years(s) / Timeframes | Supply Resource Mix (New and Retired) | Wholesale Net Load (Gross, EE, Btm PV, Utility PV) | Electrification Forecasts (Heating and Transportation) | Battery and Other Storage Additions | Other
(example) Widget, LLC | (example) • Determine how high percentages of variable resources on system would impact or change operational contingency planning • Determine extent of transmission system upgrades required for a future resource mix under a fully decarbonized economy; • Determine if (current) market outcomes under high renewable/storage penetration cases would provide revenues to cover expected capital and/or operational/maintenance costs for resources (by resource type) | (example) The base case is similar to the Widget 20XX Economic Study Request with the updates noted in the "Base Case Input Assumptions" columns. | (example) The Scenarios to be included are similar to the Widget 20XX Economic Study Request with the following updates: 1. Generation Fleet Meeting Existing State Renewable Portfolio Standards (“RPS”) and Steam Units Retired and Replaced with NGCC units: Use the Base Assumptions, including the retirement assumption. Assume that targeted energy requirement for the New England states’ RPS goals as of April 1, 2020 will be met by physical renewable/clean energy resources. Any retirement replacement and any supply growth above RPS will be met by new NGCC units. 2. Generation Fleet Meeting Existing RPS and All Future Needs Met with New Renewable/Clean Energy Resources: Same as Scenario 1, except assume all needed capacity will be met by renewable/clean energy resources. The mix of renewable/clean energy resources will be determined in the stakeholder scoping process. 3. Generation Fleet Meeting Existing RPS Plus Additional Renewable/Clean Energy Resources: Same as Scenario 2 except include additional MW by 2025 and 2030 of new renewable/clean energy resources above the existing RPS requirements. Specifics of this “RPS-Plus” Scenario 3 are included Appendix 1 to the Proposal and will be further developed through further discussion with stakeholders. | (example) These assumptions are based on updating the Widget 20XX Economic Study Request. | (example) Provide all the same metrics from the Widget 20XX Economic Study Request. | (example) Provide all the same deliverables from the Widget 20XX Economic Study Request. | Market Analysis | GridView | (example) Simulate economic operation of power system chronologically | (example) The transmission topology will be the one used in FCA #14, plus upgrades associated with resources that cleared in FCA #14 and any Proposed or Planned reliability projects on ISO’s March 2020 RSP Project List. | (example) Model 2025 and 2030. | (example) Existing resources will be the generation fleet and demand response and energy efficiency (“EE”) resources as of FCA #15, plus: (i) any additional generation that is operating or under construction but has not cleared in an FCA as of April 1, 2020, and (ii) any generation with an approved I.3.9 and that is still in the interconnection queue as of April 1, 2020. Individual cases will model amounts of capacity and energy-only resources consistent with their respective designs, unless otherwise noted. Retirement cases will retire oldest half in MW of the conventional oil and coal-fired steam units by 2025 and next oldest half in MW by 2030 (including dual fuel units). | (example) EE, solar photovoltaic (“PV”) and load projections will be based on 2020 CELT Forecast, but remove EE discount factors and use the FCA 14 methodology for Behind-the-Meter Solar PV adjustment and extrapolation of the CELT forecast out to 2030. There will be further discussion with the stakeholders on development of any material load sensitivities. | (example) Utilize the CELT 2020 electrification forecasts for the given analysis years. | (example) There will be further discussion with the stakeholders on development of any material battery or storage additions. | (example) When adding natural gas combined cycle (“NGCC”) generation, the location will first be assumed to be at the location of retired units and then at the Hub. When adding renewable/clean energy resources, their locations will be at locations consistent with resources in the current interconnection queue as of April 1, 2020 with the same relative proportion of MW at those locations (i.e., first include generation in the current queue and then add generation, if needed, proportionally based on current locations of generation in the queue); except that Offshore wind resources will be added at the ISO interconnection points closest to federally-designated Wind Energy Areas. Fuel price forecasts will come from the EIA data for New England. The impact of alternative fuel prices can be determined exogenously unless they affect the dispatch order of resources. Use high and low fuel price sensitivities to determine effect on dispatch order. After initial runs are done, determine whether any fine tuning of the EIA prices should be done to recognize seasonal price or basis differentials. There will be further discussion with stakeholders on how to model imports. Assume prices for RGGI allowances and prices for other environmental emission allowances. Specific assumptions of prices will be developed through further discussion with stakeholders and determine if there is a need to create sensitivities for high and low emissions prices.
[7 empty] | --Select-- | --Select-- |  |  |  | “While the end state scenarios will need to assume sufficient new renewable resource entry to be consistent with achieving state carbon reduction goals, the base scenarios should not start with an assumption of significant new electric storage entry. Such an assumption would seem to understate the need for reliability services and obscure shortfalls (if any) in the existing market design. Instead, addition of new electric storage entry should be based on as-modelled market prices. Electric storage modelling of energy discharge /charging prices (i.e., generator energy offer prices and Dispatchable Asset Related Demand prices) should consider both round-trip efficiency and variable O&M costs. ” |  |  | Important to model full variable O&M costs. All storage cycling consumes useful life of some components but the lief of the components and their costs are quite different. Lithium battery cycling consumes battery cell life. At low charging prices, this cost exceeds conversion efficiency advantages over pumped storage.
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--