Discussion Issues for March 17, 2016 NEPOOL Scenario Analysis Meeting

- Scenario 3 Modification:

  - Possible changes to Scenario 3 to accommodate different renewable/clean energy scenarios.

- Base Assumptions:

  - Retirement Assumption

    - Retire all convention oil and coal-fired units by 2025, or use a different assumption (e.g. half retired in 2025, other half in 2030)?

    - If retirement based on fuel type base retirements on primary fuel?

    - Engage an outside consultant to model economic viability?

  - Load forecast: use 2016 CELT load forecast and use the FCA #10 methodology for Behind-the-Meter Solar PV adjustment

  - Fuel Price and Natural Gas Pipeline Expansion Assumptions:

    - Use the EIA pricing forecast or make assumptions about pipeline expansion?

    - Develop sensitivities for alternate fuel prices, potentially including the effect of pipeline expansion ( in later stage of the study development) and apply exogenously. The impact of alternate fuel prices can be determined exogenously unless they affect the dispatch order of resources

  - Generation assumptions

    - Location of new renewable/clean energy resources: consistent with current queue ?

    - Assume new renewables are capacity resources?

    - Develop a mix of wind/large scale solar to meet scenario goals

    - Existing generation fleet assumed to be those that have cleared in FCA10 plus resources under construction and/or have an I3.9 approval?

    - Net ICR met with Natural gas CCs if needed and allow Net ICR to be exceeded to meet renewable goals

  - Transmission topology: include reliability projects on March 2016 RSP Project list (per ISO’s suggestion)?

- Discussion of Scenarios

  - Inclusion of Scenarios 4 and 5

- Discussion of Deliverables