The New England Power Pool (NEPOOL) provides this document as the framework for Phase 1 of its studies related to the reliability of the future grid (collectively, the studies are referred to as the Future Grid Reliability Study).

The New England states have enacted energy and environmental laws that call for a significant reduction in greenhouse gas emissions. Compliance with these laws is expected to result in changes in the generation and use of electricity. Generators that do not emit carbon will likely produce a much greater percentage of the region’s power supply. In addition, electricity will likely become more prevalent in heating buildings and powering vehicles, significantly changing load amounts, peaks and profiles.

NEPOOL is commissioning this Future Grid Reliability Study to understand better the implications of this substantially changed future grid. Specifically, the Future Grid Reliability Study (Phases 1 and 2 together) will examine whether revenues from the existing markets will likely be sufficient to attract and retain the new and existing resources that will be needed to continue to operate the system reliably. It will also identify what operational and reliability challenges will need to be addressed in the future grid and identify possible ways to meet those needs.

This document together with the assumptions spreadsheet (Assumptions Spreadsheet) constitute the “Study Framework” for Phase 1 of the Future Grid Reliability Study. The Study Framework has been developed through the stakeholder process at joint meetings of the NEPOOL Markets and Reliability Committees (MC/RC) with support from the New England States Committee on Electricity (NESCOE) and Independent System Operator - New England, Inc. (ISO-NE). Although referred to as a Study Framework, the body of work will actually consist of several analyses using different computer models. No single model can address the range of issues that NEPOOL stakeholders desire to assess. The analyses will be conducted in a staggered iterative approach with the results from one analysis informing decisions about what to model or remodel in other analyses. The Study Framework is being presented to ISO-NE prior to April 1, 2021 as a 2021 Economic Study request. The Study Framework will continue to be refined after being provided to ISO-NE based on continued consultation among ISO-NE, NEPOOL representatives and scenario proponents and on preliminary study results.

- Study Objective / Scope

NEPOOL approved the Future Grid Reliability Study objective and scope in a document commonly referred to as the “bubble chart.” The objective is to assess and discuss the future state of the regional power system in light of state energy and environmental laws as of December 31, 2020. The scope is to define and assess the future state of the regional power system identifying: 1) a resource mix or mixes for future years; and 2) resource and operational/reliability needs. A gap analysis will determine whether, in the future state envisioned, the markets in effect on December 31, 2020 will likely provide sufficient market revenues to attract and retain the new and existing resources that will be needed to continue to operate the system reliably. The gap analysis will also identify any market deficits that may need to be addressed to assure operability and reliability in accordance with the standards of the North American Electric Reliability Corporation, Northeast Power Coordinating Council, Inc. and ISO-NE.

The Future Grid Reliability Study will therefore encompass both economic and engineering analyses. The economic analyses (production cost and ancillary services simulations, and the revenue sufficiency analysis) will seek to answer questions such as what are the forecasted market revenues, and will they likely be sufficient to attract and retain the different types of resources that will be needed to reliably operate the system in that future. The engineering analyses (ancillary services simulation, resource adequacy screen, and the probabilistic availability and system security analyses) will seek to answer questions about what conditions will likely present operational or reliability issues, the nature of those issues, and whether the system will be able to operate reliably when, for example, variable energy resources (VERs) are the predominant generation resources, when production from VERs exceeds load, and when there may be a sustained reduction in VER production.

The studies will be performed in two phases. Phase 1 will consist of the production cost simulation, ancillary services simulation, resource adequacy screen and probabilistic resource analysis. The Phase 1 work is described in detail below. NEPOOL expects that Phase 2 will consist of revenue sufficiency and system security analyses and any other analyses NEPOOL deems appropriate at the time of commencing Phase 2. The Phase 2 study framework will be further developed by the MC/RC in a separate document later.

- Areas of Analysis

- Production Cost Simulation: ABB GridView (ISO-NE)

Objectives: Show economic dispatches and energy market revenues for different scenarios. Provide useful information related to the operational/reliability analyses, and identify conditions upon which further operational/reliability analyses may focus.

Scope: New England only; external interfaces are assumed historic profiles unless otherwise specified in the scenario assumptions. A “pipe and bubble” configuration representing 13 planning sub-areas (or “bubbles”) of supply-side resources within the New England control area connected by simplified transmission models (or “pipes”) will be used. These “pipes” are a defined collection of specific transmission lines with assigned transfer limits.  Simulations will be performed without transmission constraints between RSP planning sub-areas. The unconstrained flows will be monitored against current interface limits and will inform where conceptual transmission could be added to allow for the higher interface flows. For certain assessments, constrained conditions will be modeled to show the benefit of increased transfers versus the existing system where interface limits are enforced causing the system to change generation dispatch to maintain those limits.

Methods:  Customary approach to economic studies – scenario analyses - with some flexibility to reflect the variable operation and maintenance costs of resources in the simulated dispatch. However, the variable operation and maintenance costs of battery storage will be assumed to be $3/megawatt-hour each way. Sensitivities may be performed. Alternative scenarios may also be run that assume different cost amounts. Iterate model simulations with updated values informed by the results of other areas of analysis.

Metrics: Using scenario analysis, perform energy market simulation studies that provide information on system performance, including production costs by resource type and fuel type, location marginal prices, load-serving entity energy expenses, uplift and environmental emission levels (CO2, NOX and SOX) for all matrix and alternative scenarios

Learning points:  High-level observations about transmission constraints between sub-areas in GridView and when during the year those conditions might occur; observations about whether the results suggest scenarios for further study; the results will feed into the probabilistic resource availability analysis.

- Ancillary Services Simulation: EPECS (ISO-NE)

Objectives:  Show if resources will provide the necessary amounts of regulation, reserves, ramping and load following. Provide insight to expected revenues from the existing ancillary services markets under the scenarios studied.

Scope:  New England only; assume unconstrained internal transmission but interfaces at the RSP bubbles will be monitored. Some sensitivities that recognize constraints may be run. For the: (i) study year; and (ii) selected time periods within the study year

Methods: Using the same or complementary assumptions as the energy market simulations described above, use a methodology similar to what is used for those studies. Examine relationships between system imbalance estimates and: a) reserve products, and b) other system parameters. Estimate quantities of ancillary services requirement “gaps” indicated in the scenario analysis.  There will be some flexibility to iterate model simulations with updated values informed by the results of other areas of analysis.

Metrics: For all matrix and alternative scenarios, analyze the regulation, reserves, ramping, and load following capability needed to maintain the supply/demand balance of the New England bulk electric power system with a significant VER penetration.  (The EPECS model provides an integrated platform for assessing simulated operating reserves, interface flows, tie-line utilization, and regulation performance.  The one-minute time increment used in the EPECS model augments the GridView model, which uses one-hour time-step increments to analyze:  day-ahead resource scheduling as a security-constrained unit commitment; real-time resource scheduling as a real-time unit commitment; real-time balancing as a security-constrained economic dispatch; and real-time physical power flow with integrated regulation service.) Environmental emission rates (CO2, NOX and SOX) will be provided for resources providing ancillary services.

Learning points:  High-level observations about conditions that may stress the grid due to weather risks associated with various resource mixes, the timing of when those conditions might occur and any ancillary services gaps; observations about whether the results suggest scenarios for further study; the results will feed into the probabilistic resource availability analysis.

- Resource Adequacy Screen and Probabilistic Resource Availability Analysis:  GE MARS (ISO-NE)

The same modeling tool will be used to perform two different types of analyses as described below. There are some common elements:

Scope:  New England only; assume unconstrained internal transmission but interfaces at the RSP bubbles will be monitored. Some sensitivities that recognize transmission constraints may be run.

Methods: Use a probabilistic approach (Monte Carlo simulations) that examines all 8760 hours of the study year. All new resources’ capacity contributions will be modeled. The Resource Adequacy Screen will model resources at their appropriate qualified capacity value based on current market rules. The Probabilistic Resource Availability Analysis will model solar/wind resources using the DNV GL historical model set starting with the most recent year and work back in time to incorporate as many years as possible to the extent computation capability allows. This will form a recent ‘stochastic’ data set based on the most recent weather history.

The objectives and methods of the two analyses differ in the following respects.

1. Resource Adequacy Screen

Objective:  Determine Installed Capacity Requirement (ICR) for each future scenario in preparation for potential energy market simulation(s) to ensure that loss of load expectation (LOLE) is met for expected system loads. Includes the creation of system-wide Marginal Reliability Impact (MRI) curves.

Methods:  Determine ICR in accordance with the methodology described in Market Rule 1, Section 12, in preparation for energy market simulations; scenarios found to be resource inadequate will be identified and will add sufficient proxy resources for the case to solve. Proxy resources will consist of a modest amount of batteries and, if additional resources are needed, new thermal units will be added except in Alternative Scenarios D and E. For those two alternative scenarios, the proxy units will consist entirely of batteries. Some sensitivities could be performed for different proxy resources.

Metrics: Evaluate all matrix and alternative scenarios to determine system reliability during the peak hours of the study year. Produce MRI curves for select scenarios chosen by the MC/RC. LOLE of one day in ten years, expected unserved energy (EUE), loss of load hours (LOLH).

2. Probabilistic Resource Availability Analysis

Objective:  Analyze system reliability taking into consideration the uncertainties associated with the output of renewable resources due to weather risks, the interactions between different types of VERs, and the correlation with loads during the summer and winter peak periods as well as outside of the summer and winter peak periods.

Methods:  For select matrix and alternative scenarios chosen by the MC/RC, examine correlation of loss of load risk and the risk associated with VER availability estimates.  Examine the frequency with which elevated risk events are projected to occur over time (e.g., number of times and for how long). Examine the occurrence of loss-of-load probability and identify risk trends (e.g., daily or seasonal instances of increased resource availability risk). Revise scenario assumptions to model other elevated risk events as chosen by the MC/RC. Include flexibility to iterate with updated values informed by the results of other areas of the Phase 1 analysis.

Metrics: LOLE of one day in ten years, loss of load probability (LOLP), EUE, LOLH, loss of load event (LOLEv) which counts the number of events, EUE/LOLEv, and LOLH/LOLEv

Learning points: Observations will be made about conditions in which there may not be sufficient resources to meet the LOLE criterion, the timing of when those conditions might occur, and whether there may be a need for certain categories of resources in some amounts in order to meet that criterion. Observations will be made about whether the results suggest scenarios for further study as part of the Phase 1 work or some iterations with the energy and ancillary services analyses. The results may inform the Phase 2 system security analysis.

- Scenarios

Use a matrix approach with alternatives to represent a range of possible futures based on Future Grid Reliability Study proposals that stakeholders submitted to the MC/RC.

Matrix of Scenarios for Energy and Ancillary Services Market Simulations

|  | (Resource 1) OSW 8,000 MW DER 18,000 MW | (Resource 2) OSW 8,000 MW DER 25,000 MW | (Resource 3) OSW 17,000 MW DER 31,000 MW |
| --- | --- | --- | --- |
| (Load 1) Buildings 9,600 GWh Transport 7,300 GWh | (5 Scenarios) Matrix Scenario1 plus Alternatives A, C, D and E | (3 Sensitivity Scenarios) Scenario 1 (Resource 2 and Load 1) Scenario 2 (Resource 2 and Load 1) Scenario 3 (Resource 2 and Load 1) | (3 Sensitivity Scenarios) Scenario 1 (Resource 3 and Load 1) Scenario 2 (Resource 3 and Load 1) Scenario 3 (Resource 3 and Load 1) |
| (Load 2) Buildings 6,600 GWh Transport 18,500 GWh | (3 Sensitivity Scenarios) Scenario 1 (Resource 1 and Load 2) Scenario 2 (Resource 1 and Load 2) Scenario 3 (Resource 1 and Load 2 | (5 Scenarios) Matrix Scenario 2 plus Alternatives A, C, D and E | (3 Sensitivity Scenarios) Scenario 1 (Resource 3 and Load 2) Scenario 2 (Resource 3 and Load 2) Scenario 3 (Resource 3 and Load 2) |
| (Load 3) Buildings 38,900 GWh Transport 37,500 GWh | (3 Sensitivity Scenarios) Scenario 1 (Resource 1 and Load 3) Scenario 2 (Resource 1 and Load 3) Scenario 3 (Resource 1 and Load 3 | (3 Sensitivity Scenarios) Scenario 1 (Resource 2 and Load 3) Scenario 2 (Resource 2 and Load 3) Scenario 3 (Resource 2 and Load 3) | (6 Scenarios) Scenario 3 plus Alternatives A, B, C, D and E |

OSW = Offshore wind

DER = Distributed energy resources (photovoltaics and electric storage)

Stakeholders also proposed some alternative scenarios..

Alternative Scenarios

- Bi-Directional Transmission (see National Grid 2020 Economic Study8)

- Vehicle to Grid (see Multi-Sector A)

C. Nuclear Retirement (see NextEra/Dominion)

D. 100% decarbonization (see Anbaric)

E. On-shore and off-shore grids (see Anbaric)

ISO-NE will run the scenarios in the following sequence. First, it will run matrix Scenario 1 and the Scenario 1 sensitivities. The sensitivities will apply the different resource mixes and loads assumed in Scenarios 2 and 3 to Scenario 1. Next ISO-NE will run the alternative scenarios that go with Scenario 1.

ISO-NE will then proceed to run matrix Scenario 2, the Scenario 2 sensitivities and the alternative scenarios that go with Scenario 2, followed by matrix Scenario 3, the Scenario 3 sensitivities and the alternative scenarios that go with Scenario 3.

ISO-NE will assess as it proceeds through the sequence, based on the results obtained to date, whether any of the subsequent runs will likely be unrealistic, infeasible, incapable of being completed in a reasonable time or not likely to tell something new. Based on ISO-NE’s assessment, the MC/RC could decide to drop certain subsequent scenarios or sensitivities. ISO-NE will present Production Cost Simulation (GridView) results first for all scenarios. Then proceed with presenting the Ancillary Services Simulation (EPECS) results, followed by the Resource Adequacy Screen (MARS) results. At that point, a discussion with the MC/RC will be required to determine the scenarios that will be included in the Probabilistic Resource Availability Analysis.

- Matrix Scenario 

Matrix Scenario1 assumes significant growth in non-carbon emitting generators and electrified load. However, with respect to both the resource mix and load, it assumes a slower pace of change than the two other matrix scenarios.  The resource mix in Scenario  assumes approximately 8,000 MW of offshore wind (about 17% of the resource mix) and 18,000 MW of distributed energy resources (about 33% of the resource mix). On the load side, it assumes approximately 16,900 gigawatt-hours (GWh) of electrified building and transportation load weighted towards buildings. The electrified building and transportation load accounts for about 11% of net load. The detailed assumptions for this and each of the scenarios are presented in the Assumptions Spreadsheet.

- Matrix Scenario 

Matrix Scenario  assumes greater growth in distributed energy resources and electrified load than Scenario . The resource mix in Scenario  assumes approximately 8,000 MW of offshore wind (about 15% of the resource mix) and 25,000 MW of distributed energy resources (about 41% of the resource mix). On the load side, it assumes approximately 25,100 GWh of electrified building and transportation load weighted towards transportation. The electrified building and transportation load accounts for about 18% of net load.

- Matrix Scenario 

Matrix Scenario  assumes significantly greater growth in offshore wind, distributed energy resources and electrified loads than Scenarios  or . The resource mix in Scenario  is comprised of approximately 17,000 MW of offshore wind (about 28% of the resource mix) and 31,000 MW of distributed energy resources (about 41% of the resource mix). With respect to load, Scenario 3 assumes approximately 76,400 GWh of electrified load roughly balanced between buildings and transportation. The electrified building and transportation load accounts for about 45% of net load. Matrix Scenario  is based upon the Massachusetts 2050 Roadmap Study results for the All Options Scenario in 2040.

- Alternative Scenario A:

The objective is to analyze the impact of bi-directional controllable transmission to Quebec. It assumes the addition of an unlimited bi-directionally capable, controllable direct current tie injecting into Northeast Massachusetts. Alternative A to be applied to Scenarios 1, 2 and 3.

- Alternative Scenario B:

The objective is to analyze the impact of vehicle to grid storage. It assumes that an additional 100 gigawatts/200 GWh of energy storage are available for a two-hour duration based on an estimated 25% of 8 million electric vehicles with 100 kilowatt batteries capable of providing electric storage and vehicle to grid services. Alternative B to be applied only to Scenario 3.

- Alternative Scenario C:

The objective is to analyze the impact of the loss of the Seabrook and Millstone nuclear power plants. It assumes the retirement of both stations. Alternative C to be applied to Scenarios 1, 2 and 3.

- Alternative Scenario D:

The objective is to analyze the impact of a power system that is carbon free in 2035 in line with the Biden July 2020 energy plan. It assumes the retirement of the current fossil fuel generation fleet. Alternative D to be applied to Scenarios 1, 2 and 3.

- Alternative Scenario E

The objective is to analyze the different impacts of an on-shore and off-shore grid. It is a variant of Alternative D where higher proportions of off-shore wind are interconnected closer to load as suggested in the 2020 Brattle/GE/CHA study (e.g. more even split of offshore wind among Southeast Massachusetts, Boston and Connecticut). Alternative E to be applied to Scenarios 1, 2 and 3.

- Assumptions

The detailed assumptions for the different scenarios are shown in the Assumptions Spreadsheet which is part of this Study Framework.

- Deliverables and Output Results

- Resource Needs: For the resource mix proposed in each scenario studied, provide information related to resource financial viability in the current New England markets.

- 1. Show economic dispatches and energy market revenues for different scenarios from the GridView results.

- 2. Provide insight to expected revenues from the existing ancillary services markets under the scenarios studied from the GridView and EPECS results. Due to the GridView and EPECS model configuration, expected ancillary service market revenues may be a general approximation of revenues from current ancillary services markets, and not a direct reflection of estimated market revenues.9

- .

- System Operational and Reliability Needs: Determine for different scenarios whether operational or reliability issues would arise.

  - Provide useful information related to the operational/reliability analyses, and identify conditions upon which further operational/reliability analyses may focus.

  - Show if resources will provide the necessary amounts of regulation, reserves, ramping and load following.

  - Determine the ICR for each future scenario in preparation for the energy market simulation to ensure that LOLE is met for expected summer and winter system peaks. Include the creation of MRI curves for selected scenarios.

  - Analyze the periods of time and system conditions during and outside of summer and winter system peaks that may not meet LOLE due to factors such as insufficient capacity or flexible demand, weather risk, operational risk, etc.

- C. Carbon Emissions: Provide information on whether each scenario meets New England state law requirements and the resulting degree of grid decarbonization.

- Estimate the power sector carbon emission / emission reduction levels in:

    - The power sector through the GridView results; and

    - Across the broader economy with reference to input assumptions related to heating and transportation electrification.

- Estimate the energy production associated with renewable and clean energy resources through the GridView results.

- D. Make non-confidential raw data used in the analyses available to interested persons

VI. Timing - Preliminary Schedule

This section illustrates the requested study schedule. Opportunities to overlap and expedite work should continue to be explored and pursued.

Assumptions development for matrix scenarios: February 2021 - March 2021

Assumptions development for alternative scenarios: February 2021- April 2021

Preliminary production cost simulations: April 2021 – August 2021

Preliminary production cost results discussed with the Planning Advisory Committee (PAC): June 2021 – August 2021

Final production cost simulations: July 2021 – December 2021

Ancillary services simulations: August 2021 – December 2021

Final production cost results discussed with the PAC: October 2021 --December 2021

MARS analyses: October 2021 – January 2022

Review/update assumptions: November 2021 – December 2021

Ancillary services results discussed with the PAC: November 2021 – December 2021

MARS results discussed with the PAC: December 2021- January 2022

Report writing: January 2022 – March 2022

VII.    Deliverables

The deliverables will include: 1) periodic status updates and consultations; 2) periodic PowerPoint presentations on simulation and analysis results; and 3) a final PowerPoint presentation and written report on the Phase 1 results and key findings and observations.

- Stakeholder Process

ISO-NE will conduct the Phase 1 studies as an Economic Study under the Tariff and, consequently, will engage the PAC on a regular basis to discuss the studies and the results; however, NEPOOL intends that ISO-NE will also engage with the MC/RC on a regular basis to: (i) provide high level reports to the MC/RC on the studies; (ii) seek MC/RC determinations on any major decision points about the direction and focus of the studies; and (iii) receive guidance from the MC/RC to ISO-NE on the studies as they progress.

Joint meetings of NEPOOL’s MC and RC were held beginning April 2020.  Six past/ongoing studies were identified for examination: (1) 2016 NEPOOL Economic Study; (2) 2019 NESCOE Economic Study; (3) Massachusetts 2050 Roadmap Effort; (4) Eversource “Grid of the Future” Study; (5) E3/EFI “Electric Reliability under Deep Decarbonization” Study; and (6) 2019 Brattle Group “Achieving 80% GHG Reduction in New England by 2050” Study. For more information, see: http://nepool.com/Future_Grid.php.

See November 12, 2020 meeting materials, https://www.iso-ne.com/static-assets/documents/2020/11/a2_presentation_future_grid_reliability_study.pdf (slide 4)

For additional information, see https://www.iso-ne.com/about/key-stats/maps-and-diagrams

See the December 16, 2020 Modeling of Battery Storage in Economic Studies presentation available at:   https://www.iso-ne.com/static-assets/documents/2020/12/a9_modeling_of_battery_storage_in_economic_studies.pdf

For example, results of the Resource Adequacy Screen and Probabilistic Resource Availability Analysis may suggest that Production Cost Simulation(s) be re-run.

ISO-NE will identify if certain resources or resource types are not committed in the GridView/EPECS simulations for a given scenario. If that occurs, ISO-NE may run sensitivities that examine the impact of removing those resources in the MARS simulations.

DNV GL modeled the historical 21-year dataset (2000-2020) of onshore and offshore wind generation, behind-the-meter distributed solar generation, gross load, and net load data, to assess the full spectrum of operating conditions within the ISO-NE service area. The historical modeling methodology is described in a report that is available at: https://www.iso-ne.com/static-assets/documents/2021/03/a9_stochastic_time_series_modeling_for_isone_rev_2.pdf

8 See https://www.iso-ne.com/static-assets/documents/2020/11/2020-economic-studies-preliminary-production-cost-results-revision-2-clean.pdg

9 Estimates of capacity market revenues and resource costs will be included in Phase 2.