## Types of Analyses (hidden)
--Select-- | Forecasting | Market Analysis | Power System Analysis
--Select-- | --Select-- | --Select-- | --Select--
Artificial Neural Network (ANN) | Artificial Neural Network (ANN) | EPECS Simulator (Dartmouth) | Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.)
Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.) | MetrixND | Forward Capacity Auction Market Clearing Engine (FCA MCE) | Electromagnetic Transients (PSCAD, etc.)
Electromagnetic Transients (PSCAD, etc.) | SimDay | GAMS-Based Market Simulator | Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
EPECS Simulator (Dartmouth) | Statistical Analysis Tools | GridView | Resource Adequacy (GE MARS, etc.)
Forward Capacity Auction Market Clearing Engine (FCA MCE) | Other | Other | Other
GAMS-Based Market Simulator | No Preference | No Preference | No Preference
GridView
MetrixND
Resource Adequacy (GE MARS, etc.)
SimDay
Statistical Analysis Tools
Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.)
Other
No Preference

## Introduction
Transition to the Future Grid - Analysis Proposal Form
Instructions | The Analysis Proposal Form provides a consistent format for stakeholders to prepare their analysis requests. This will allow for quicker processing and comparison of proposals to take place.
Requestor Details | Requestor(s) | List the company or organization name(s) associated with the proposal.
Request Details | Objective | Clearly articulate what the requestor(s) are specifically seeking to learn from the request.
| Base Case Description | Describe the base case which will be the starting point for additional scenarios to be run from. If the base case will be based on a prior analysis, please note this and clarify what updates are being proposed to the assumptions.
| Additional Scenarios | Describe any scenarios which would be performed from the base case. These scenarios should specify which variables will be changed in a given scenario and by how much. If the scenarios will be based on a prior analysis, please note this and clarify what updates are being proposed to the scenarios.
| Associated Prior/Ongoing Study | If applicable, list associated prior or ongoing study which may be the basis for the proposal or where assumptions are derived from.
Outputs and Deliverables | Metrics to Develop and Examine | Describe the metrics which would be utilized and the types of data the requestor(s) are seeking to examine (loads, prices, etc.)
| Deliverable(s) | Describe the deliverables of the proposed analysis. Note the type of information, analyses, and/or observation areas which the requestor(s) are seeking further information on with the request. Please note whether the deliverable is to be utilized as an assumption in another proposal.
Proposal Technical Summary | Analysis Types | Select the type of analysis associated with the proposal from the drop down list (Forecasting, Market Analysis, and Power System Analysis). This selection will filter the "Proposed Modeling Tool(s)" drop down list options to those applicable with the given analysis type selection.
| Proposed Modeling Tool(s) | Based on the "Analysis Types" selection, the associated modeling tools will be displayed in a drop down list. Select the proposed modeling tool. If modeling tool selection is "Other", please describe in further detail the tool in the "Proposed Modeling Approach". If there is no preference on the type of modeling tool, please select "No Preference". Forecasting: Artificial Neural Network (ANN), MetrixND, SimDay, Statistical Analysis Tools, Other, and No Preference Market Analysis: EPECS Simulator (Dartmouth), Forward Capacity Auction Market Clearing Engine (FCA MCE), GAMS-Based Market Simulator, GridView, Other, and No Preference Power System Analysis: Dynamic Power Flow (PSS/E, VSAT/TSAT, etc.), Electromagnetic Transients (PSCAD, etc.), Steady-State Power Flow (PSS/E, TARA, PowerWorld, PSAT/VSAT, etc.), Resource Adequacy (GE MARS, etc.), Other, and No Preference
| Proposed Modeling Approach | Describe how the modeling tool(s) will be used to provide useful information and how the model inputs and outputs may be used in other models and/or how post-processing analyses should be conducted to achieve useful information.
Base Case Input Assumptions | Transmission Network | Specify the transmission topology to be used for the analysis including the information source(s) to be used for future transmission topology (i.e. an RSP Project Listing).
| Study Year(s) / Timeframes | Specify the study year(s) and timeframes for the analysis.
| Supply Resource Mix (New and Retired) | Provide details on the supply resource mix by resource type including relevant retirements. Include details on relevant information sources (i.e. I.3.9 approvals, CELT Report, etc.)
| Wholesale Net Load (Gross, EE, BTM PV, Utility PV) | Provide details on the gross load, EE forecast, BTM PV forecast, and utility PV assumptions for the analysis. Include details on relevant information sources (i.e. CELT Report, etc.)
| Electrification Forecasts (Heating and Transportation) | Provide details on the electrification forecast (heating and transportation) assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Battery and Other Storage Additions | Provide details on battery and other storage assumptions. Include details on relevant information sources (i.e. CELT Report, etc.)
| Other | As needed, provide details on other relevant base case input assumptions noting relevant information sources for where to obtain data.

## Analysis Proposal Form
Requestor Details | Request Details |  |  |  | Outputs and Deliverables |  | Proposal Technical Summary |  |  | Base Case Input Assumptions
Requestor | Objective | Base Case Description | Additional Scenarios | Associated Prior/Ongoing Study | Metrics to Develop and Examine | Deliverable(s) | Analysis Type | Proposed Modeling Tool(s) | Proposed Modeling Approach | Transmission Network | Study Years(s) / Timeframes | Supply Resource Mix (New and Retired) | Wholesale Net Load (Gross, EE, Btm PV, Utility PV) | Electrification Forecasts (Heating and Transportation) | Battery and Other Storage Additions | Other
Requesters: Acadia Center, Advanced Energy Economy, Brookfield Renewables, Energy New England, NRDC, PowerOptions, Conservation Law Foundation | To update and extend the 2016 PAC Economic Study on Reserves (note: not operating reserves) to assess the possible need of or benefit from ramping, regulation, or load-following resources as the system decarbonizes (timeframe 2030 - 2050) | The base case would reflect best information about the system in 2030. This date serves two purposes: 1. allow for comparison to the 2016 study 2. provide a snapshot 10-years hence, to identify any gaps that would require immediate attention. The base case would be similar to the 2016 study’s “2030 Scenario 2 – ‘ISO Queue’”, updated to reflect the current ISO queue (including off -shore wind, NECEC) planned retirements, and probable retirements from the At Risk Generator list. Updates should be made to ensure that the supply mix meets state policy goals for GHG emissions. The base case assumptions for load should include the the ISO’s electrification forecast that was included in CELT 2020 for the year 2029, extrapolated out to 2030. | - An “end-state” zero-carbon generation scenario. Technical outputs from MA’s 80-by-50 study (Central Case) for the year 2050 appears to capture a carbon-free system of this sort; the Eversource/LEI “2040 Aggressive Decarbonization” scenario appears close to this goal. - A mid-point scenario, providing directional information about the system in flux. These scenarios are not necessarily simple interpolations between 2030 runs and end-state runs, nor do the requestors assign any particular year to this midpoint. Data such as MA’s 80-by-50 study (Central Case) for the year 2040 or Eversource/LEI “2040 Balanced Portfolio” capture a system in transition. These scenarios are selected because they reflect the technical attributes of a system in the process of decarbonizing. For all scenarios, the requestors do not wish to presuppose the date of if/when such a scenario might occur. N.b., each of these scenarios may require interpolation or scaling to translate the hourly data from these models into minute-level data required for the EPECS Simulator (additional analysis required; perhaps an additional interim step using a production cost model?). - Assume 20% flexible demand is avilable to absorb renewable generation surplus or any needs for ramping, peak loads, etc. before fossil generation is dispatched If Mass EEA 2050 Roadmap data on load and supply is available it appears this would meet the intent of our request. | PAC 2016 Economic Study Phase II - Regulation, Ramping, and Reserves (Amro M. Farid) | Same as PAC 2016 Economic Study Phase II - Regulation, Ramping, and Reserves. | Same as 2016 Economic Study Phase II - Regulation, Ramping, and Reserves. •Simulated Operating Reserves: Load Following, Ramping and Curtailment Performance •Simulated Interface & tie-line Performance •Simulated Regulation Performance •Simulated Balancing Performance •Timeseries data outputs on the most granular time-scale (e.g. 1- or 10-minute data) for each kind of assessed reserve. | Market Analysis | EPECS Simulator (Dartmouth) | Same as 2016 Economic Study | Same as NESCOE 2019 Economic Study (Report Figure 5.1), unless there is meaningful variation between proposed queue interconnection for OSW and the 2019 Study assumptions. To the extent the model finds this inadequate, note the gap and assume sufficient transmission to serve load. | We note again that these nominal years are indicative only as an end state and a mid-point. With that caveat, 2030 (Base case). 2050 (End state) and 2040 (mid-point). | Base Case: Existing resources will be the generation fleet and DR as of FCA#15, less At Risk resources,plus EE forecast, plus additional renewables, proportional to existing+queue required to meet the state RPS requirements (should the queue be insufficient). Assume battery energy storage fills in any shortfall. | Base Case, End state, and mid-point cases per Mass EEA data if available. Additional scenario assumes at least 20% of demand is flexible to absorb surplus or reduce demand. | Per Mass EEA data, if available. | Given the importance of storage in decarbonization literature, the requestors need better information about how the model treats storage operation/dispatch to ensure that EV charging, behind-the-meter storage, and front-of-the-meter storage are reasonably approximated. At a minimum: Base Case (2030): 4 GW/8 GWh End State (2050): 20 GW/80 GWh mid-point (2040): 10 GW/30 GWh | When adding bulk energy storage to avoid shortfalls, location will first be assumed to be at the location of retired units and then at the Hub. When adding renewable/clean energy resources, their locations will be at locations consistent with resources in the current interconnection queue as of July 1, 2020 with the same relative proportion of MW at those locations (i.e., first include generation in the current queue and then add generation, if needed, proportionally based on current locations of generation in the queue); except that Offshore wind resources will be added at the ISO interconnection points closest to federally-designated Wind Energy Areas. Should there be an energy shortfall after the above, work with stakeholders to specify and locate gas-fired generation resources (retain existing units). Resource capital and operating costs should decline with currently available trends or forecasts. Fuel price forecasts will come from the EIA data for New England. The impact of alternative fuel prices can be determined exogenously unless they affect the dispatch order of resources. Use high and low fuel price sensitivities to determine effect on dispatch order. After initial runs are done, determine if any fine tuning of EIA prices should be done to recognize seasonal price or basis differentials. Further discussion with stakeholders on how to model imports. Assume prices for RGGI allowances and prices for other environmental emission allowances. Specific assumptions of prices will be developed through further discussion with stakeholders and determine if there is a need to create sensitivities for high and low emissions prices.
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--
[7 empty] | --Select-- | --Select--